## Slide 1: DC Nano grid based on open source renewable energy electronics
Berlin, 20.01.2018
Martin Jäger

## Slide 2: Current uni-directional electricity grid
Notes: Dezentral klappt schon ganz gut in Deutschland. Allerdings hauptsächlich für Eigenheimbesitzer.
Strom fließt hauptsächlich in eine Richtung: Vom (regenerativen) Kraftwerk zum Verbraucher
Insbesondere das System im Haus ist nicht dafür ausgelegt, auch einzuspeisen  komplizierter Anschluss mit separatem Zähler für Dach-PV-Anlage. Grauzone: Guerilla-PV

## Slide 3: DC nano-grid with Open Source Hardware
~
=
~
=
=
=
=
=
  Safe (Voltage < 60V)
  Easy (Plug & Play)
  Reliable (multiple energy storage devices possible)
  Open Source Hardware und Communication Protocol
=
=
DC load
Gateway
Communication bus (CAN)
DC nano-grid

## Slide 4
Device 2
Communication channel
Network link
Device 1
Host computer or display
Device 3
Gateway
Device
Host computer or display
Direct link

## Slide 5
Network Layer (3) |  |  | Transport Layer (4) | ThingSet Protocol (Layer 5-7) |  | 
Network Header | Source Address/ID | Destination Address/ID | Transport Header | Payload byte 1 | … | Payload byte n

## Slide 6: Battery-dominated low voltage DC grid
Solar
Main battery
AC grid
230 V
AC
DC
DC
DC
Load 1
Load n
…
LVDC bus
Second battery
DC
DC
Wind
AC
DC
Battery defines bus voltage
  Voltage limits (charge profiles) need to be communicated to all energy sources

## Slide 7: Low voltage DC grid with bus signaling
Solar
AC grid
230 V
AC
DC
DC
DC
Load 1
Load n
…
LVDC bus
Additional energy storage
DC
DC
Wind
AC
DC
DC
DC
Battery
Independent DC bus voltage
  DC bus voltage defines system state ( basic communication)
  Load prioritization via different disconnect set-points possible

## Slide 8: DC bus signaling example for 48 V
54 V |  |  |  |  | 
52 V |  |  |  |  | 
50 V |  |  |  |  | 
48 V |  |  |  |  | 
46 V |  |  |  |  | 
44 V |  |  |  |  | 
42 V |  |  |  |  | 
40 V |  |  |  |  | 
Producer
Consumer
Bat 100% SOC
Bat 50% SOC
Bat 0% SOC
Renewable Energy Source
AC grid tied
Diesel gen.
Electric heater / dump load
High priority load
Low priority load
Energy Storage
Sources
Loads